AC24V Power Distance Chart over UTP CAT5 cable:

	CAT5 Cable (24AWG)
	Actual Voltage camera at 21V

	Power
	2 Pairs/AC24V
	3 Pairs/AC24V

	100 mA
	300 Meters
	300 Meters

	300 mA
	100 Meters
	225 Meters

	1 Amp
	30 Meters
	45 Meters


